## Slide 1: INVESTIGATIONAL IVD TYPES
exempt
significant risk
non-significant risk
NOT used to diagnose or confirms by another method. e.g. exploratory or retrospective analysis
used to…
make critical medical decisions in a trial
LOW RISK TO SUBJECT HIGH
used to…
assess a baseline characteristic
stratification
non-invasive sampling or uses surplus samples
Notes: Investigational Device Exemption (IDE) regulation investigational device types (21 CFR Part 812)